## Hoja1
Supplementary Material 1. Descriptive and metrological information of biological quantities that have been selected to exemplify the measurement
uncertainty estimation and to describe the metrological traceability.
Biochemical quantity | Measurement Unit | Measuring system [Manufacturer] | Calibration material [Manufacturer] | Reagent [Manufacturer] | Certified reference material [Manufacturer] | Internal quality control materials [Manufacturer] | External quality assurance scheme [Manufacturer]
S¾Alanine transaminase; cat.c. | U/L | Cobasâ 8000/Cobasâ 6000 [Roche Diagnostics, Risch-Rotkreuz, Switzerland] | Calibration for automated systems (C.f.a.s) (Ref. 10759350190) [Roche Diagnostics] | ALT (Ref. 05850797190) [Roche Diagnostics] | n.a. | Liquid Assayed Multiqualâ (Ref. 694) [Bio-Rad Laboratories, Hercules, CA, USA] | n.a.
S¾Albumin; mass c. | g/L | Cobasâ 8000/Cobasâ 6000 [Roche Diagnostics, Risch-Rotkreuz, Switzerland] | Calibration for automated systems (C.f.a.s) (Ref. 10759350190) [Roche Diagnostics] | ALB2 (Ref. 05166861190) [Roche Diagnostics] | n.a. | Liquid Assayed Multiqualâ (Ref. 694) [Bio-Rad Laboratories, Hercules, CA, USA] | n.a.
S¾Bilirubin; subst.c. | mmol/L | Cobasâ 8000 [Roche Diagnostics, Risch-Rotkreuz, Switzerland] | Calibration for automated systems (C.f.a.s) (Ref. 10759350190) [Roche Diagnostics] | BILT3 (Ref. 05795419190) [Roche Diagnostics] | n.a. | Liquid Assayed Multiqualâ (Ref. 694) [Bio-Rad Laboratories, Hercules, CA, USA] | n.a.
S¾Clozapine; subst.c. | nmol/L | AcquityTM UPLCâ-TQDâ [Waters, Milford, MA, USA] | Calibration materials are prepared in-house using a certified reference material (CRM) of clozapine (purity of 99.8%) from United States Pharmacopeia (Rockville, MD, USA), LC-MS-grade methanol and water (Sigma-Aldrich Química S.L., Madrid, Spain) and a drug-free serum pool. | "In-house" measurement procedure | n.a. | ClinChek® Serum Control, lyophil., for Neuroleptics, Level I, II (ref. MS9382 ) [Recipe] | Therapeutic Drugs (TDM)-PS04-Clozapine/Norclozapine (Ref. PT-TM-PS04) [LGC Standards, Teddington, Middlesex, UK]
S¾Cholesterol; subst.c. | mmol/L | Cobasâ 8000 [Roche Diagnostics, Risch-Rotkreuz, Switzerland] | Calibration for automated systems (C.f.a.s) (Ref. 10759350190) [Roche Diagnostics] | CHOL2 (Ref. 05168538190) [Roche Diagnostics] | n.a. | Liquid Assayed Multiqualâ (Ref. 694) [Bio-Rad Laboratories, Hercules, CA, USA] | n.a.
S¾Glucose; subst.c. | mmol/L | Cobasâ 8000/Cobasâ 6000 [Roche Diagnostics, Risch-Rotkreuz, Switzerland] | Calibration for automated systems (C.f.a.s) (Ref. 10759350190) [Roche Diagnostics] | GLUC3 (Ref. 04404483190) [Roche Diagnostics] | n.a. | Liquid Assayed Multiqualâ (Ref. 694) [Bio-Rad Laboratories, Hercules, CA, USA] | n.a.
P(aB)¾Hydrogen ion; pH(37 °C) | 1 | GEM Premier 5000 [Instrumentation Laboratory, Bedford, MA, USA] | Calibration materials included on GEM Premier 5000 PAK BG/ISE/GL/COOX [Instrumetation Laboratory] | GEM Premier 5000 PAK BG/ISE/GL/COOX [Instrumetation Laboratory] | n.a. | GEM Premier 5000 PAK BG/ISE/GL/COOX [Instrumetation Laboratory] | BG-Blood gases [Referenzinstitut für Bioanalytik, Bonn, Germany]
S¾Potassium ion; subst.c. | mmol/L | Cobasâ 8000/Cobasâ 6000 [Roche Diagnostics, Risch-Rotkreuz, Switzerland] | ISE Standard Low (Ref. 11183974216); ISE Standard High (Ref. 11183982216) [Roche Diagnostics] | ISE indirect Na-K-Cl for Gen.2 (Ref. 10825441 001/03149501001/10820652216/04880455190/04880480190/11298500316/04663632190) [Roche Diagnostics] | n.a. | Liquid Assayed Multiqualâ (Ref. 694) [Bio-Rad Laboratories, Hercules, CA, USA] | n.a.
B¾Sirolimus; subst.c. | nmol/L | AcquityTM UPLCâ-TQDâ [Waters, Milford, MA, USA] | ClinCal® Whole Blood Calibrator Set, lyophil., for Immunosuppressants (Level 0 – 6) [Recipe Chemicals + Instruments GmbH, Munich, Germany] | "In-house" measurement procedure | ERM®-DA111a (LGC Standards; Teddington, Middlesex, UK) | LiquicheckTM Whole blood Immunosupressants Control (Ref. 12000404) [Bio-Rad Laboratories, Hercules, CA, USA] | n.a.
S¾Thyrotropin; arb.subst.c. | mIU/L | Cobasâ 8000/Cobasâ 6000 [Roche Diagnostics, Risch-Rotkreuz, Switzerland] | TSH CalSet (Ref. 08443459190) [Roche Diagnostics] | Elecsysâ TSH (Ref. 11731459122) [Roche Diagnostics] | n.a. | LiquicheckTM Immunoassay Plus Control (Ref. 360) [Bio-Rad Laboratories, Hercules, CA, USA] | n.a.
Biochemical quantities nomenclature (20): aB - arterial blood; B - blood; P - plasma; S - serum; arb.subst.c. - arbitrary substance concentration; cat.c. - catalytic concentration; mass c. - mass concentration; part.pr., and susbt.c - substance concentration
n.a. - non applicable