Table S1. Assessment of methodological quality of the included studies

|  | Sample origin | Sample size | Blood collection procedure | Control of preanalytical conditions | Blood collection tube | Control of temperature | Type of centrifugation | Control of stirring | Control of light exposure | Control of evaporation | Sample storage until analysis | Analyzer | Method | Metrological quality | Repetition of analysis | Confidence interval | Significance of differences | Overall judgement |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dong, 2024 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 2 | 2 | 2 | 1 | 14 |
| Bosse, 2024 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 2 | 1 | 1 | 2 | 0 | 2 | 1 | 17 |
| Nandakumar, 2020 2020 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 2 | 1 | 15 |
| Chakera, 2017 | 2 | 1 | 0 | 1 | 1 | 1 | 2 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 2 | 0 | 14 |
| Wu, 2017 | 1 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 2 | 1 | 1 | 2 | 0 | 2 | 1 | 15 |
| Christensen, 2016 | 2 | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 1 | 2 | 1 | 12 |
| Mechanic, 2013 | 1 | 1 | 1 | 0 | 2 | 1 | 2 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 1 | 0 | 1 | 14 |
| Casati, 2013 | 1 | 1 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 2 | 1 | 1 | 2 | 0 | 0 | 1 | 13 |
| Oddoze, 2012 | 1 | 1 | 1 | 0 | 2 | 1 | 2 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 12 |
| Reisch, 2007 | 2 | 1 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 2 | 1 | 13 |
| Ellis, 2003 | 2 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 0 | 1 | 9 |
| Diver, 1994 | 1 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 6 |
| Lambert, 1985 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 6 |

Studies were classified into four quality grades based on the total score: excellent, acceptable (green color), doubtful (orange), and unacceptable (red).